## Slide 1
SANJEEWANI T.G.P RU/E/2011/158
WIJERATHNA W.M.S.M.M RU/E/2011/184
DHARMASENA G.T.S RU/E/2011/190
Faculty Of Engineering
University Of Ruhuna
Designing and Simulation of an Energy Control
Algorithm for Photovoltaic Based Active Generator using State Flow Analysis

## Slide 2: Introduction
Active Generator Concept

## Slide 3: Problem Statement
Stochastic nature of PV systems
Continuously varying weather conditions
Wastage of excessive PV power produced during sunny days
Inability to supply the required power in cloudy days
Requirement of a local energy storage to store energy for long time and short time

## Slide 4: Proposed Solution
Define three working modes.
Mode 1 - Normal
Battery and SC power lie between maximum and minimum capacities of battery and SC respectively. Required power is more or less than the PV produced power.
Mode 2-Constraint
SC and battery are fully charged. Required power is lower than the PV produced power.

## Slide 5: Proposed Solution cont.
Normal – Supply power to load
Constraint – Supply power to both load and grid
Unconnected – Supply power to load from grid.
Mode 3-Unconnected
The capacity of the battery and the SC lie below their minimum capacity limitation. Required power is higher than the PV produced power.

## Slide 6: Overall System

## Slide 7: Storage System

## Slide 8: State-Flow Control Arrangement for Power Source

## Slide 9: Algorithm of the Model

## Slide 10: Results
PV produced Power
Working Modes of
the System
Battery Power Response
SC Power Response
Load Power Response
Grid Power Response

## Slide 11: Thank You..!

## Slide 12: Supplementary Slides

## Slide 13: System working under Three Modes

## Slide 14: Required Load Power

## Slide 15: Monthly GTI from Kristiansand in Year 2012
Month | Monthly Mean GTI (W/m2)
January | 11.75
February | 10.50
March | 150.6
April | 161.74
May | 310.88
June | 187.16
July | 185.31
August | 171.69
September | 213.07
October | 99.28
November | 22.03
December | 7.69

## Slide 16: GTI Data on 31st May 2012
Time | GTI(w/m2)
10:56:00 AM | 970
11:11:00 AM | 977
11:26:00 AM | 974
11:41:00 AM | 903
11:56:00 AM | 869
12:11:00 PM | 863
12:26:00 PM | 827
12:41:00 PM | 794
12:56:00 PM | 739
1:11:00 PM | 801
1:26:00 PM | 821
1:41:00 PM | 794
1:56:00 PM | 805
2:11:00 PM | 786
2:26:00 PM | 761
2:41:00 PM | 722
2:56:00 PM | 680
3:11:00 PM | 638

## Slide 17: Technical Data of Solar BP 3160N Module
Electrical data | Parameters
Nominal output Pmpp | 160 [W]
Max. Voltage system | 1000 [V]
Nominal Voltage Umpp | 35.1 [V]
Nominal current Impp | 4.55 [A]
Open circuit voltage Uoc | 44.2 [V]
Short circuit current Isc | 4.8 [A]
Module conversion efficiency | 12.7 [%]

## Slide 18: Parameters of Lead-Acid Battery
Parameters | Data
Nominal Voltage | 144V
Rated Capacity | 69.4Ah
Initial State Of Charge | 100%
Fully Charged Voltage | 156.8V
Nominal Discharge Current | 13.9V
Internal Resistance | 0.02Ohms
Capacity(Ah)@Nominal Voltage | 21.53Ah
Exponential zone[Voltage, Capacity] | [146.6V 0.2Ah]

## Slide 19: SC Specifications
Parameters | Data
Rated capacitance | 198F
Equivalent DC series resistance | 2.1x10-3 Ohms
Rated voltage | 150V
Surge voltage | 155V
Number of series capacitors | 2
Number of parallel capacitors | 4
Initial voltage | 16V
Leakage current | 5x10-2A
Operating temperature(Celsius) | 15

## Slide 20: Battery Model
Discharge voltage model (i* > 0)
Edischarge=𝑓1(𝑖𝑡,𝑖∗,𝐸𝑥𝑝)=𝐸𝑜−𝐾∗( )∗𝑖∗−𝐾∗( )∗𝑖𝑡+
Charge voltage Model (i* < 0)
Echarge=𝑓2(𝑖𝑡,𝑖∗,Exp)=Eo−K∗ ∗i−K∗ +𝐿𝑎𝑝𝑙𝑎𝑐𝑒−1∗( * 1/s)
where,
EBatt : Nonlinear voltage (V)
E0 : Constant voltage (V)
Exp(s) : Exponential zone dynamics (V)
Sel(s) : Represents the battery mode. Sel(s) = 0 during battery discharge, Sel(s) = 1 during battery charging.
K : Polarization constant
i* : Low frequency current dynamics (A)
I : Battery current (A)
It : Extracted capacity (Ah)
Q : Maximum battery capacity (Ah)

## Slide 21: Battery Model in State-Flow

## Slide 22: SC Model in State-Flow

## Slide 23: PV Panel Model in State-Flow

## Slide 24: Load Model in State-Flow